Appendix A: Hazardous Energies Control Procedure Form

Hazardous Energies Control Procedure

*This procedure must be strictly followed to ensure protection of all persons involved.

| Equipment ID: Mfgr., Model #, ID#: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Equipment Location(s): |  |  | Date Performed: |  |
| Task to be Performed: |  |  |  |  |

Energy Forms: Check and list all that apply

- Electrical Voltage: Potentials are > 50V

List:__________________________________________________________________

- Chemical: Explosion, pressure, extreme heat, fire, corrosive, reactive, oxidizer, toxic

List:__________________________________________________________________

- Pressure: > 1 atm, pneumatic, hydraulic, liquid

List:__________________________________________________________________

- Vacuum: < 1 atm

List:__________________________________________________________________

- Mechanical/Kinetic: Capable of crushing, pinching, cutting, snagging, striking

List:___________________________________________________________________

- Thermal: High or low temperature. Hot liquids, steam, cryogens.

List:___________________________________________________________________

- Potential: Flywheels, springs, elevated parts that could fall, capacitors, batteries

List:___________________________________________________________________

Lockout Procedure

Follow the procedure below exactly as listed. Check off each line as each step is completed.

- Notify all Affected Employees of intended lockout.

- Turn off or shutdown and Lockout/Tagout each energy control point listed below.

Specific Lockout Locations

- Dissipate any stored energy as described below.

Dissipate These Energy Sources

- Block any mechanical parts and remove any mechanical links listed below, with lock blocking in place. (Note: Double block and bleed, after valves are closed block both upstream and downstream sides of working area, then bleed remaining pressure.)

Block These Parts/Remove Linkages

- Verify all persons clear of hazard zone.

- Attempt to re-start machinery or re-energize equipment.

- Verify no hazardous energy remains by the methods listed below. Use multi-meter if electricity is involved.

Verify No Residual Energy By These Methods

- Perform required work.

Procedure to Return Equipment to Operation

- Verify hazard zone is clear of equipment, workers, tools, and test equipment.

- Unlock and remove any blocking devices and replace linkages.

- Reposition any safety valve(s) left open to prevent re-buildup of pressure.

- Remove all locks and tags from energy control points.

- Re-start or re-energize the equipment.

- Notify all Affected and Employees that the lockout has been cleared.

| Names of Authorized Employees Performing Lockout/Tagout |  |
| --- | --- |
| Names of Affected Employees (include departments, lab workers, Facilities, EH&S, etc.) |  |